# Recovering from Water Contamination

# (Sample SOP)

PURPOSE: Ensure a school nutrition kitchen is safe to use after a water contamination event.

SCOPE: This procedure applies to child nutrition professionals who have to clean and restore a kitchen after a water contamination incident.

KEY WORDS: Water contamination, emergency preparedness, emergency recovery, potable water, disruption, boil water, recovering

INSTRUCTIONS:

- Assess what equipment, surfaces, and utensils were affected by the water contamination and now need to be cleaned.

- Prior to reopening or resuming operations, consult with school officials and the local health authority.

- Take follow-up action in accordance with the water utility company’s guidelines and equipment manufacturers’ instructions when water supply is safe.

- Flush plumbing systems including faucets, toilets, and fountains before use.

- At least 5 minutes of flushing is typically recommended for faucets

- At least 10–15 minutes is typically recommended for equipment water lines (e.g., ice machines, fountain, and beverage machines).

- Clean and disinfect contaminated utensils, equipment, and affected surfaces first.

- Follow the disinfectant manufacturer’s instructions for the proper procedure for disinfectant concentration and time on a surface.

- After disinfection, wash, rinse, sanitize, and air-dry food contact surfaces prior to use.

- Refer to the Cleaning and Disinfecting Food Contact Surfaces Sample SOP.

- Remove signs or covers from disinfected equipment.

- Discard the ice through three cycles in the ice machine, then clean and sanitize the ice machine prior to use.

- Discard and replace water filters in equipment connected to the water supply. (e.g., ice machines and beverage machines).

- Inventory emergency supplies to determine what needs to be replenished.

MONITORING:

- Confirm the end of the water contamination or “boil water” notice with the water utility company.

- Follow the recovery guidance in the boil water notice provided by the water utility company or contact the local health authority for guidance.

- Ensure that at least one designated employee per shift is assigned and trained on how to respond to a water contamination recovery.

- Complete the Recovery Following a Long-Term Interruption of Water Service Checklist.

CORRECTIVE ACTION:

- Retrain any school nutrition employee found not following the procedures in this SOP.

- Continue to flush lines that were not flushed for the appropriate time.

- Re-clean and disinfect any equipment that was done incorrectly.

- Restock the personal protective equipment.

- Restock disinfecting and cleaning supplies.

- Restock potable water supply.

- Restock disposable utensils and supplies.

VERIFICATION AND RECORD-KEEPING:

- Document all cleaning and disinfecting procedures completed after the water contamination or boil water notice is lifted on the Food Contact Surfaces Cleaning and Sanitizing Log.

- Record the end time and date of the water contamination on the Recovery Following a Long-Term Interruption of Water Service Checklist. Complete the checklist.

- Verify that the Food Contact Surfaces Cleaning and Sanitizing Log and the Recovery Following a Long-Term Interruption of Water Service Checklist are complete. Retain for three years plus the current school year, or as directed by your State agency.

- Review and revise emergency plan to confirm or update response strategies.

DATE IMPLEMENTED: __________________ BY: ______________________

DATE REVIEWED: _____________________ BY: ______________________

DATE REVISED: _______________________ BY: ______________________

Source:

Institute of Child Nutrition. (2026). HACCP-based standard operating procedures manual. University, MS: Author.

Institute of Child Nutrition. (2021). Emergency preparedness plan: Templates. University, MS: Author

Institute of Child Nutrition (2015). Recovery following a long-term interruption of water service checklist. University, MS: Author

U.S. Department of Agriculture, Food and Nutrition Service, Food Safety Branch. (2022, April). Food safety emergency response pocket guide disaster edition. https://theicn.org/icn-resources-a-z/emergency-response-pocket-guide/