# Responding to Sewage Issues

(Sample SOP)

PURPOSE: Protect food and school nutrition employees from contaminants and pathogens in sewage during a sewage backup or broken or obstructed sewer pipe. A sewage backup is the overflow of sewage from equipment or plumbing facilities (i.e., floor drain, toilet, sink, or another appliance.)

SCOPE: This procedure applies to school nutrition professionals who work in a kitchen with drainage and sewage pipes.

KEY WORDS: Sewage, Sewage Backup, Broken Pipe, Obstructed Pipe, Emergency Preparedness, Emergency Response, Poor Personal Hygiene, Contaminated Equipment

INSTRUCTIONS:

- Immediately assess the impact on your food service operation (i.e., the size of the affected area and affected equipment).

- Determine, in consultation with the health authority and emergency management official(s), if and how limited food service operations can continue (i.e., pre-packaged food items that require limited preparation).

- Food service activities should discontinue if there is an immediate health hazard.

- Coordinate with school officials to contact the utility company to determine the best course of action.

- Locate the appropriate emergency equipment and supplies needed (e.g., cleaning supplies, disposable gloves, personal protective equipment).

- Request a service visit or repair from a service company if necessary to repair damaged or blocked drain lines.

- They may find and remove the obstruction and/or replace damaged plumbing, as needed.

- Discontinue the use of affected equipment and facilities such as sinks and toilets.

- Label them to prevent additional use (e.g., marking a toilet “out of order”).

- Block or separate the affected area to prevent traffic between affected areas with sewage and nonaffected areas.

- Employees should remove footwear and protective clothing when leaving the affected area.

- Limit contamination from sewage by clearing the surrounding area.

- Move nearby items and food to an alternate and elevated location to avoid contact with sewage.

- Wear appropriate personal protective equipment (e.g., eye protection, disposable gloves, disposable plastic apron) before handling and contacting sewage.

MONITORING:

- Ensure the personal protective equipment and disinfecting and cleaning supplies are properly assembled and stored at all times.

- Ensure that at least one trained employee per shift is designated to respond to sewage clean up.

CORRECTIVE ACTION:

- Retrain any school nutrition employee found not following the procedures in this SOP.

- Wash, rinse, and disinfect any surface where contaminants have been tracked from the sewage areas to non-affected ones. Wash, rinse, and sanitize any food contact surface afterward if disinfected.

VERIFICATION AND RECORD-KEEPING:

- Record the date and time of the sewage event on an incident report.

- Verify that employees are properly trained on how to use personal protective equipment and proper sewage cleanup procedures. Document on the Employee Food Safety Training Record.

- Verify that an incident report has been started.

- Keep the Employee Food Safety Training Record for three years plus the current school year, or as directed by your State agency.

DATE IMPLEMENTED: __________________ BY: ______________________

DATE REVIEWED: _____________________ BY: ______________________

DATE REVISED: _______________________ BY: ______________________

Source:

Institute of Child Nutrition. (2026). HACCP-based standard operating procedures manual. University, MS: Author.

Institute of Child Nutrition. (2021). Emergency preparedness plan: Templates. University, MS: Author.

U.S. Department of Agriculture, Food and Nutrition Service, Food Safety Branch. (2022, April). Food safety emergency response pocket guide disaster edition. https://theicn.org/icn-resources-a-z/emergency-response-pocket-guide/